## Slide 1
Predictive Maintenance
Solutions to Transform your Maintenance Strategy

## Slide 2
Speakers
Kenny Heidel
Product Manager
Safety
Mike Hamoy
Product Manager
Sensors
Justin Lantin
Product Manager
Components

## Slide 3: Agenda
Introduction to Predictive Maintenance
Omron’s Predictive Maintenance offering
Demo of Power Supply/ Motor Monitor/ and Thermal Condition Monitor
Demo of IO-Link Sensor Software
Demo of IO-Link Safety Software
Q&A

## Slide 4
Unplanned downtime
Cost of unplanned downtime |  | 
Industry | Cost of downtime (per min.) | Cost of downtime (per hr.)
Automotive – Assembly | $15,000 | $900,000
Automotive – Powertrain | $5,000 | $300,000
Semi-conductor | $4,167 | $250,020
Processed Food Production | $312 | $18,720
Bottled Water Production | $50 | $3,000
Cost of components (no labor) | 
Item | Cost
50 hp. 3-phase motor | $6,000
Transformer | $7,000
Variable Frequency Drive | $10,000
Servo Motor | $2,000
Gearbox | $10,000
82% of companies experience some form of unplanned downtime
Top causes of unplanned downtime
Aging equipment
Operator error
Lack of maintenance due to limited resources
Notes: I’d like to discuss a bit more about the issue of unplanned downtime.
A massive 82% of companies experience Unplanned downtime. Thats an Unexpected shutdown or failure of equipment or a process – causing delays in production, maintenance, and deliveries, Which can cost up to $260,000/hr for some companies
The top 3 causes of unplanned downtime are from aging equipment, operator error, and lack of maintenance performed due to limited plant resources. If you take a look at the cost of unplanned downtime per hour, you tend to see the highest figures in the automotive industry due to the high manufacturing costs with automobiles. In addition to the cost of unplanned downtime, the cost of replacing the failed components can be thousands of dollars. This is one reason manufacturers must have an effective maintenance strategy to avoid these costly repairs.

## Slide 5
What is Predictive Maintenance?
Predictive maintenance (PdM) is a condition-based maintenance strategy that remotely monitors the condition of equipment using sensor devices. The sensors supply real-time data of equipment and analytics are performed to predict when the equipment requires maintenance.
Predictive Maintenance
(Condition based)
Continuous monitoring and analyzing of machine conditions
Predicts when equipment needs maintenance and perform maintenance accordingly
Reduces the need for frequent inspections
Lower maintenance costs $$ over preventive
Preventive Maintenance
(Time based)
Most common maintenance strategy
Scheduled maintenance
Labor intensive
Time consuming
Limited monitoring
Reactive Maintenance
(Run to failure)
Low maintenance costs
Higher probability of unplanned downtime
Cost of repairs can be much higher than the cost of preventive maintenance
From
To

## Slide 6
Predictive Maintenance
Chart: 
| Aggressively investing | Planning to invest | Undecided
 | 0.28174 | 0.57391 | 0.14435
Customer survey on Plant Maintenance
(443 Omron customers)
86% of customers surveyed are executing or planning to invest in Predictive Maintenance Solutions
Notes: With the evolution of Industry 4.0, many plants are migrating toward remote monitoring solutions. 443 Omron customers were surveyed about their Plant maintenance strategy. 57% of the customers surveyed said they are planning to invest in predictive maintenance and 28% said they’re already investing in predictive maintenance solutions. The results of the survey shows a high level of interest of predictive maintenance among plants across various industries.

## Slide 7
Omron’s Predictive Maintenance Solutions
Simple solutions to keep tabs on your equipment
S8VK-X
Power Supply
F3SG-SR
Light Curtain
Sensing
K6CM
Motor Condition Monitor
K6PM
Thermal Condition Monitor

## Slide 8
An advanced IoT power supply that remotely monitors DC loads
S8VK-X Power Supply
Specifications
Single Phase
Power Rating: 30W-480W models
Input Voltage: 100-240 VAC/90-350VDC
Output Voltage: 5, 12, 24VDC
Key features
Ethernet/IP & Modbus TCP communication
Monitors output voltage, current, peak current, run time, and life expectancy
Optional display
Alerts for low/high voltage & current conditions
Free monitoring software
Calculates remaining life by monitoring capacitor temperature & run time
Notes: I’d like to highlight some key features that make this power supply very different than other power supplies in the industry.​
The S8VK-X has a Ethernet/IP and Modbus TCP communication port for remote monitoring, it has to ability to monitor DC output voltage, current, peak current, run time, and remaining power supply life. All that critical information is viewable on a display or on the free PC monitoring software.​
​
Whys this information important? When you have abnormal DC voltage and current loads from a jammed actuator or loose connection, it can have a big impact in the operation of automation equipment and life of the power supply itself. These abnormalities can be difficult to detect with a standard power supply.​
​
The S8VK-X can predict how many years of life it has remaining, as well as the percentage of its life remaining by monitoring the internal capacitor temperature and run time of power supply.

## Slide 9: S8VK-X Power Supply
PC Monitoring Tool Dashboard
Monitors up to 18 power supplies
Trending Graph
Output voltage
Output current
Peak current

## Slide 10
Industrial 3-phase motors
Top causes of motor failure
1. Bearing wear – caused by lack of lubrication
2. Insulation breakdown –caused by dust, fluids, heat
3. Overload – caused by exceeding motor load capacity or misaligned drive systems
Common motors voltage ratings
208V, 240V, 480V, 600V (Canada)
Common motor applications
Material Processing
Pumps
Material Handling
Fans
Compressors
Average cost of motor maintenance (1 motor) $2000/year
Packaging manufacturers spends $18,000/year in motor maintenance
Food and beverage manufacturer spent $75,000 in grinder motor repairs due motor overloads
Notes: Let’s shift gears and talk about industrial 3-phase motors. These motors are primarily used for material processing, pumps, material handling, fans and compressors. They typically run at 480V or 600V for Canada.
The top 3 ways motors will fail will be #1 bearing wear. This can be cause by lack of lubrication or misalignment. #2 is insulation breakdown, this typically caused by dust, chemicals, or heat. #3 is a motor overload, this is caused by exceeding motor load capacity or having a misaligned drive system.

## Slide 11
Zero current transformers
K6CM-ISM model
Monitors insulation resistance to detect insulation breakdown from dust or chemical intrusion
Current transformer (CT)
K6CM-CI2M model
Monitors motor current and analyzes current sine wave for abnormal load conditions.
24/7 Remote Motor Condition monitoring for 3-phase motor failures
K6CM Motor Condition Monitor
Key features
DIN-rail mount controller with LCD display and alarm bar
Ethernet/IP & Modbus TCP communication
3 sensor options for monitoring various type of motor failures
Transistor outputs for external alarms
Free PC monitoring software
Built-in algorithms for analyzing motor conditions
K6CM Sensor Options
Vibration/temperature
K6CM-VBM model
Monitors motor vibration and temperature for detecting bearing wear
K6CM
Controller
Notes: Omron’s K6CM motor condition monitor provides predictive maintenance to industrial 3-phase motors. It offers remote condition monitoring by utilizing a DIN-rail mount controller that uses various sensors to collect critical motor information. The DIN-rail mount controller is equipped with an LCD display, alarm bar, transistor outputs for external alarms, and an Ethernet IP/Modbus TCP port for remote monitoring. One unique feature about the K6CM controller is that it has built-in algorithms which performs the condition analysis right out of the box. Also included is a free PC monitoring software for easy integration.
The 3 different sensors options include a Current transformer (CT) which is used to monitor and analyze abnormal load conditions. The second option is the Vibration temperature sensor which monitors motor vibration and temperature to detect abnormal bearing wear. The 3rd option is the zero current transformer or ZCT which monitors insulation resistance to detect insulation breakdown.

## Slide 12
Monitor all your motors with one simple software
K6CM Monitoring Tool
PC Monitoring tool Dashboard
High level view of motor status
Monitors up to 10 motors Max
Trending view
Time Stamp view
Notes: I’ve discussed a lot of the features of the K6CM and the different models that are available. I’d like to show you some of the key features of the monitoring software tool that is included with the device.
First the software features a dashboard which provides a high level view of the motors status. You have the ability to monitor up to 10 motors in this software. If there is a need to monitor more than 10 motors it is recommended to integrate a controller. In this software you have the ability view trending graphs and time stamps of abnormality. You are also able to set all the alarms for the K6CMs through this software in just a few clicks.
Overall, this software makes it easy to integrate the K6CMs into your existing equipment and will allow you to remotely monitor your motors with little setup time.

## Slide 13
Detecting bearing wear through vibration monitoring
K6CM VBM– Vibration/Temperature Monitor

## Slide 14
Industrial Fires
An average of 37,000 industrial fires occur in the US each year
Electrical distribution and lighting equipment was found to be the leading cause
Average cost of thermal inspection $2500 USD
Cost of a panel repair from an electrical fire $80,000 USD (based on internal study)
Contactor overheating
Solid State Relays
Overheating
Variable frequency drive overheating
Overheating transformers
Wiring insulation breakdown
Loose connections
Causes of control panel fires
Notes: Did you know that an average of 37,000 industrial fires occur in the US each year? The leading cause of these fires was from electrical distribution and lighting equipment. Control panels are often a main sources of electrical fires due to having high voltage equipment and heat generating components.
An example of this would be overheating solid state relays, transformers, contactors and variable frequency drives. Another way hot spots can develop in a panel is from loose wiring connections and wiring insulation breakdown that causes a short circuit. These type of abnormalities can be difficult to detect with manual inspections and requires immediate action to avoid substantial damages to the equipment or plant.

## Slide 15
A remote monitoring solution to detect increases in temperature
K6PM Thermal Condition Monitor
Key features
DIN-rail mount controller with LCD display and alarm bar
Thermal Infrared Sensors
(can use up to 31 sensors per controller)
Transistor outputs for external alarms
Free PC monitoring software
Ethernet/IP & Modbus TCP communication
Specifications
24VDC input voltage
Temperature monitoring range : 0-200°C
K6PM-THMD-EIP
Controller
K6PM-THS3232
Thermal Infrared Sensor
RS-485 connection
Notes: To help prevent these types of safety incidents, Omron has introduced a device specifically for thermal condition monitoring. The K6PM is a remote thermal condition monitor that detects changes in temperatures using multiple thermal infrared sensors. It utilizes a DIN-rail mount controller with an LCD display, alarm bar, transistor outputs for external alarms, and an Ethernet/IP & Modbus TCP communication port. Also included is a Free PC monitoring software for remote monitoring.
The K6PM can monitor temperature from 0-200°C and has the ability to trigger high and low temperature alarms based on the set thresholds.

## Slide 16: K6PM Demo Video

## Slide 17
What is IO-Link?
  First I/O Technology for communication with sensors and actuators to be adopted as an international standard IEC 61131-9
  Developed by a consortium of 40 companies as an open network I/O Technology
  IO-Link is a point to point communication not a fieldbus
  Standardizes communication with sensors and actuators based on 3-wire format without requiring any special wiring materials
    Class A and Class B 3-5 pin connecting cables
Notes: These slides are primarily used to help educate customers on IO-Link.
Think of IO-Link as a tool to talk about product as opposed to the only solution you’re discussing. If educating customers on IO-Link it’s necessary to discuss, IO-Link enabled devices (prox, photo, etc.), IO-Link Master blocks, IO-Link Master slices, PLC’s, HMI’s. All these things can be included within the context of a discussion about IO-Link.. .so even if just educating about IO-Link you can talk about a huge basket of product that the customer may or may not know is offered by Omron. Our lightcurtains are also IO-Link capable now too!

## Slide 18: E2EW/ E2E NEXT/ E3AS Sensors
Reduce equipment downtime with enhanced sensor intelligence from IO-Link enabled sensors
  Monitor sensor failure in real time from HMI screen to determine the nature and location of the failure
  Monitor sensor output strength
    Plot over time
  Adjust sensor alerts to notify users when targets are getting too close to or too far from the sensor face
Notes: IO-Link setup screens can be used to choose between NO and NC allowing users to forgo buying two sensors if they need to switch between the two operation modes. This also eliminates the need to shut down and swap sensors.

## Slide 19
Reduce commissioning time
  Configuration information is saved on the IO-Link master
    Change out doesn’t require re-programming
Ensure replacement integrity
  I/O ports on masters can be designated to recognize specific part numbers
    Error messages can be set if someone uses the incorrect sensor as a replacement.
Use information as input data
  Measurement information can be used as input information for other functions
    Robot picking application
E2EW/ E2E NEXT/ E3AS

## Slide 20: F3SG-SR/PG Safety Light Curtains
  Reduce installation and configuration time
  Give customers ultimate flexibility in their machine safety designs
  Maximize machine uptime with enhanced diagnostic features

## Slide 21: F3SG-SR with IO-Link
Must have the Intelligent Tap Installed
Process data
  Output status
  Error information
  Muting status
Service data
  Model numbers
  Light curtain setting information
Notes: This is the information you can receive over IO Link

## Slide 22: F3SG-SR with IO-Link Demo
Notes: This is the information you can receive over IO Link

## Slide 23
Key takeaways
Omron’s Predictive Maintenance solutions
Remote condition monitoring
Easy to retrofit
Reduce maintenance costs
Reduce unplanned downtime
Notes: To summarize our presentation for today, I’d like to highlight 4 key takeaways of Omron’s predictive maintenance solutions.
First, all of these devices have Ethernet/IP and Modbus TCP communications which makes it possible to remotely monitor the condition of your equipment.
Second, these devices are easy to retrofit as they have a standard DIN-rail mount design and require little or no modification to existing equipment.
Third, implementing these predictive maintenance solutions can reduce maintenance costs associated with motor inspection, thermal inspection and electrical inspection in control panels.
Last, by receiving real-time data and alerts from your equipment you can respond faster to critical issues and reduce the risk of unplanned downtime in your plant.

## Slide 24
Questions?
Notes: Thank you for attending the webinar. I hope you found the session to be informative and useful. I will be happy to take any questions or hear about your current challenges with plant maintenance.